## Sheet1
Run num | Test type | Voltage | Record time | Discriminator Thr | # evt | Remarks
1 | Lego ped test 1 | - | - | 30mV | 1000 | Pedestal check before Lego-like module test
2 | Lego ped test 2 | - | - | 30mV | 1000
3 | Lego ped test 3 | - | - | 30mV | 1000
4 | Lego ped test 4 | - | - | 30mV | 1000
5 | Lego ped test 5 | - | - | 30mV | 1000
6 | Lego | 1350 | 10m | 30mV | 73
7 |  | 1400 | 10m | 30mV | 145
8 |  | 1450 | 1m | 30mV | 26 | for counting # evt
9 |  | 1450 | 5m | 30mV | 72
10 |  | 1500 | 1m | 30mV | 17 | for counting # evt
11 |  | 1500 | 5m | 30mV | 71
12 |  | 1550 | 10m | 30mV | 270
13 |  | 1600 | 10m | 30mV | 201
14 |  | 1650 | 10m | 30mV | 265
15 |  | 1550 | 1h | 30mV | 1232 | long term evt taking
16 | 3D ped test 1 | - | - | 30mV | 1000 | Pedestal check before 3D module test
17 | 3D ped test 2 | - | - | 30mV | 1000
18 | 3D ped test 5 | - | - | 30mV | wrong record | wrong record
19 | 3D ped test 3 | - | - | 30mV | 1000 | Pedestal check before 3D module test
20 | 3D ped test 4 | - | - | 30mV | 1000
21 | 3D ped test 5 | - | - | 30mV | 1000
22 | 3D | 550 | 5m | 30mV | wrong record | recorded while trigger voltage not properly set
23 |  | 550 | 5m | 30mV | 61 | Using Lego-like S ch. as trigger, 1550V for both module A, C
24 |  | 600 | 5m | 30mV | 77
25 |  | 650 | 5m | 30mV | 53
26 |  | 700 | 5m | 30mV | 65
27 |  | 750 | 5m | 30mV | 60
28 |  | 800 | 5m | 30mV | 47
29 |  | 850 | 5m | 30mV | 61
30 |  | 850 | 5m | 40 ADC | wrong record | Using self-triggering, wrong setting
31 |  | 850 | 5m | 40 ADC | 23 | Using self-triggering
32 |  | 900 | 5m | 30mV | 64 | Using Lego-like S ch. as trigger, 1550V for both module A, C
Extra info |  |  |  |  | Pedestal check step (PLEASE CHECK)
Data path | /media/yu/Expansion/DAQ_data/220602/ |  |  |  | 1 | Turn on DAQ board
Log path | /usr/local/notice/test/prompt_test/log_0602/ |  |  |  | 2 | Connect 16-pin cable to DAQ board
File name | muon_06_02_{run number}.dat |  |  |  | 3 | Disconnect cable from DAQ & connect it to PMT sensor board
Lego 1200V | almost no evt passing trigger |  |  |  | 4 | Connect 16-pin cable to both DAQ & PMT board
Lego 1300V | almost no evt passing trigger (2evt/37sec) |  |  |  | 5 | Connect PMT to PMT board
Self trigger | 40 ADC (~30mV?) for thr (PLEASE CHECK)